## Slide 1: BioEscalator H&S induction

## Slide 2
Fire action
If you discover a fire:
Operate nearest fire alarm point
Fire Brigade will be called automatically
Leave the building by the nearest fire exit
Report to the assembly point on the footpath adjacent to Triangle Nursery
Upon hearing fire alarm:
Stop what you are doing and leave the building immediately by the nearest fire exit
Report to the assembly point on the footpath adjacent to Triangle Nursery
Do not stop to collect personal belongings
Do not use lift
Do not re-enter the building until authorised to do so
Weekly Fire test every Tuesday at 11am

## Slide 3
B
G
1
Fire Exit Locations

## Slide 4
Fire Exits
Follow the green running man to exit

## Slide 5
Fire Exits
First floor
First floor
The Hub

## Slide 6
Emergency door release
Located on wall on every fire exit door
If you need to use the Emergency Door Release button, please inform Security Services on
01865 272944 once you are safely away from the exit

## Slide 7
Fire assembly point
Car park & Distribution centre
Innovation Building
Assembly
Point

## Slide 8
Fire assembly point
The Triangle Nursery
Assembly
Point
Fire assembly point
adjacent to triangle
nursery

## Slide 9
No smoking on ORC
The Triangle Nursery
Steps to the designated smoking area
Designated smoking area- which is the raised grass area adjacent to the triangle nursery
New Richards Building

## Slide 10
Shower facilities in Basement
Shower
Facilities

## Slide 11
Defibrillator in Basement & Reception
Located in the basement outside OUSS office.
AED
OUSS office
Located on the ground floor at Reception
Fire Exit
Passenger Lift
Goods Lift

## Slide 12
Refuge points
Located on first, second, and third floor stairwell
Evac chair is located on every floor of the car park except ground floor
Ibex chair is only located in the basement
Notes: Evac chair enables one person to evacuate a physically impaired person safely and easily down the stairs in the event of an emergency or when lifts cannot be used. Also has carry handles for two people to carry one person upstairs & over obstructions.
Ibex is an emergency evacuation chair for safely evacuating non-ambulant individuals up and down stairs without carrying or heavy lifting.

## Slide 13
Accessible platform
Located at the back of the Innovation building
leading into the BioEscalator garden and bike shed

## Slide 14
First Aid station & Accidents
Located on the basement, ground
and first floor
Accident/incident are reported
on-line (IRIS) now
Eye wash stations in all the labs

## Slide 15
Safety notice board
Located on the ground floor next to
ground floor toilets.

## Slide 16
Any Questions?